General Industry Safety Inspection

	Location:
	
	Date:
	
	Inspected By:
	


	Housekeeping and Sanitation
	Yes
	No

	1.  Suitable trash containers available 
	
	

	2.  Trash is placed in the appropriate containers
	
	

	3.  Floors clean and dry
	
	

	4.  Spills cleaned up immediately 
	
	

	5.  Aisles and pathways wide enough to allow safe and unobstructed travel
	
	

	6.  Aisles and work areas kept clean and orderly
	
	

	7.  Restrooms clean, sanitary and equipped 
	
	

	8.  Employees are not smoking or eating in the operation
	
	

	9.  Break room kept clear and orderly
	
	

	10.  Materials stacked and placed safely
	
	

	11.  Drains covered and properly functioning 
	
	

	12.  Pest controls are in place and maintained
	
	

	13.  Roof is in good repair no leaks
	
	

	14.  Ceiling is in good repair 
	
	

	15.  Ventilation is in good working order
	
	

	16.  Ventilation is not blocked
	
	


	Egress
	Yes
	No

	17.  Exits adequately labeled for visibility 
	
	

	18.  Exit signs meet the appropriate standards and are properly functioning
	
	

	19.  Exits clear and unobstructed
	
	

	20.  Exit doors openable from the direction of exit travel, without the use of a key or any special knowledge or effort when the building is occupied
	
	

	21.  Doors which do not lead to outside are marked “Not an Exit” or identified 
	
	

	22.  Emergency evacuation plan posted
	
	

	23.  Emergency lighting tested and functioning
	
	


	Electrical and Lighting Conditions
	Yes
	No

	24.  Outlets in good working condition
	
	

	25.  GFCI used in appropriate locations
	
	

	26.  Outlets and junction boxes covered
	
	

	27.  Permanent wiring (not extension cords) to stationary items
	
	

	28.  Extension cord in good condition and properly grounded
	
	

	29.  Switches and controls identified
	
	

	30.  Are there frayed cord or exposed wires
	
	

	31.  Access to electrical panels unobstructed (minimum 36 inches)
	
	

	32.  Overhead lighting adequate
	
	

	33.  Portable lights used safely
	
	

	34.  Lights properly covered
	
	


	Fire Protection
	Yes
	No

	35.  Extinguishers and other related fire safety equipment readily accessible
	
	

	36.  Extinguishers check on a regular basis
	
	

	37.  Location visible and or identified with visible markings 
	
	

	38.  Marked for intended use
	
	

	39.  Tagged with dates of maintenance (seal and pin in place)
	
	

	40.  Hoses checked and maintained in good working order
	
	

	41.  Fire alarm system tested annually or as required
	
	

	42.  Produce stacked at with a minimum sprinkler clearance of 18 inches
	
	

	43.  Employees periodically trained on proper fire extinguisher use
	
	


	Parking Lot/Sidewalks
	Yes
	No

	44.  Lights functional
	
	

	45.  Lights adequate
	
	

	46.  Speed limits observed
	
	

	47.  Equipment parked in proper areas
	
	

	48.  Lot free of trash accumulation
	
	

	49.  Gates and fencing in good condition
	
	

	50.  Are there tripping hazards
	
	

	51.  Holes in the floor, sidewalks or other walking surfaces repaired properly, covered or otherwise made safe
	
	


	First Aid 
	Yes
	No

	52.  Station supplied with the appropriate supplies for the location
	
	

	53.  First aid station maintained and adequately replenished
	
	


	Worker Safety Observations
	Yes
	No

	54.  Employees using the appropriate personal protective equipment (gloves, hardhats, earplugs, safety glasses, etc.)
	
	

	55.  Employees using appropriate material handling aids
	
	

	56.  Employees using appropriate lifting techniques
	
	

	57.  Employees operating the equipment safely
	
	

	58.  Worker wearing appropriate clothing (eg shoes)
	
	

	59.  No running in the facility  
	
	

	60.  No horseplay in the workplace 
	
	


	Stairs and second floor walkways
	Yes
	No

	61.  Does the second level have the appropriate guarding
	
	

	62.  Stairs adequately lit
	
	

	63.  Stairs clean and unobstructed
	
	

	64.  Handrails in good condition
	
	


	Office Observations
	Yes
	No

	65.  Lights functioning and adequate
	
	

	66.  Floors clean and clear of trash/ flooring in good condition
	
	

	67.  Safety files established
	
	

	68.  Accident report files and safety meeting files maintained
	
	

	69.  Bulletin board maintained with the proper up to day materials (OSHA poster, emergency phone list etc).
	
	

	70. Workers Compensation Forms, Liability Forms, Chain of Custody Forms available
	
	


	Notes and Recommendations

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	


